Texas Commission on Environmental Quality

BACKFLOW PREVENTION ASSEMBLY TEST AND MAINTENANCE REPORT

The following form must be completed for each assembly tested. A signed and dated original must be submitted to the public water supplier for recordkeeping *purposes:

| NAME OF PWS and ID#: | City of Bastrop TX0110001 |
| --- | --- |
| PWS MAILING ADDRESS: | 385 SH 304, Unit B – Bastrop, Tx 78602 |
| PWS CONTACT PERSON: | Kimberly Hanly (512) 332-8961 Email: khanly@cityofbastrop.org |
| CUSTOMER NAME/PH#: |  |
| ADDRESS OF SERVICE: |  |

The backflow prevention assembly detailed below has been tested and maintained as required by commission regulations and is certified to be operating within acceptable parameters.

| TYPE OF BACKFLOW PREVENTION ASSEMBLY (BPA): |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ☐ | Reduced Pressure Principle (RPBA) |  | ☐ | Reduced Pressure Principle-Detector (RPBA-D) Type II ☐ |  |  |
| ☐ | Double Check Valve (DCVA) |  | ☐ | Double Check-Detector (DCVA-D) Type II ☐ |  |  |
| ☐ | Pressure Vacuum Breaker (PVB) |  | ☐ | Spill-Resistant Pressure Vacuum Breaker (SVB) |  |  |
| Manufacturer: |  | Main: Bypass: |  |  | Size: | Main: Bypass: |
| Model Number: |  | Main: Bypass: |  |  | BPA Location: |  |
| Serial Number: |  | Main: Bypass: |  |  | BPA Serves: |  |

| Reason for test: | New ☐ | Existing ☐ | Replacement ☐ Old Model/Serial # |  |  |
| --- | --- | --- | --- | --- | --- |
| Is the assembly installed in accordance with manufacturer recommendations and/or local codes? |  |  |  | ☐ Yes | ☐ No |
| Is the assembly installed on a non-potable water supply (auxiliary)? |  |  |  | ☐ Yes | ☐ No |

| TEST RESULT | Reduced Pressure Principle Assembly (RPBA) |  |  | Type II Assembly | PVB & SVB |  |
| --- | --- | --- | --- | --- | --- | --- |
| PASS ☐ | DCVA |  | Relief Valve | Bypass Check | Air Inlet | Check Valve |
| FAIL ☐ | 1st Check | 2nd Check*** |  |  |  |  |
| Initial Test Date: Time: | Held at ____ psid Closed Tight ☐ Leaked ☐ | Held at ____ psid Closed Tight ☐ Leaked ☐ | Opened at ___ psid Did not open ☐ | Held at ____ psid Closed Tight ☐ Leaked ☐ | Opened at ____ psid Did not open ☐Did it fully open (Yes ☐ /No ☐) | Held at _____ psid Leaked ☐ |
| Repairs and Materials Used** | Main: Bypass: |  |  |  |  |  |
| Test After Repair Date: Time: | Held at ____ psid Closed Tight ☐ | Held at ____ psid Closed Tight ☐ | Opened at ___ psid | Held at ____ psid Closed Tight ☐ | Opened at ____ psid | Held at _____ psid |

*** 2nd check: numeric reading required for DCVA only

| Differential pressure gauge used: |  |  | Potable: ☐ |  | Non-Potable: ☐ |  |
| --- | --- | --- | --- | --- | --- | --- |
| Make/Model: |  | SN: |  | Date tested for accuracy : |  |  |
| Remarks: |  |  |  |  |  |  |

| Company Name: |  | Licensed Tester Name (Print/Type): |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Company Address: |  | Licensed Tester Name (Signature): |  |  |  |
| Company Phone #: |  | BPAT License # |  |  |  |
|  |  | License Expiration Date: |  |  |  |

The above is certified to be true at the time of testing.

* TEST RECORDS MUST BE KEPT FOR AT LEAST THREE YEARS [30 TAC §290.46(B)]
** USE ONLY MANUFACTURER'S REPLACEMENT PARTS